Town of Storm Water Department of

Lake Park PUBLIC WORKS

**Grass Swale – Structural Control Inspection**

Location Address: 840 13 Street Date: 1/10/2019

Swale Dimensions 51 ’ length x 12’ width = 612 Sq. Ft. not including paved surfaces.

**FUNCTION:**

Curb & Gutter no

Wet Bottom? no

Aquatic Vegetation Present? NO

Dead or Dying Grass on Bottom no

Sediment Accumulation? no

Grading Issue? no

**EROSION:**

Vegetation on Bottom and Side Slopes Failing? NO

Any Signs of Erosion? NO

**GENERAL:**

Any Signs of Damage from Parking in Swale? no

Any Fence or Other Objects that Could Obstruct Flow Into / Through the Swale? no

Any Indications of Illicit Discharge or Illegal Dumping? NO

If *YES*, Describe and Report to Supervisor for Proper Response:

