Town of Storm Water Department of

Lake Park PUBLIC WORKS

**Grass Conveyance Swale – Structural Control Inspection**

Location Address: 815 14th Street Date: 3/21/2019

Swale Dimensions 68’ length 11’ width 748 Sq. Ft. not including paved surfaces.

**FUNCTION:**

Wet Bottom? NO

Aquatic Vegetation Present? NO

Dead or Dying Grass on Bottom yes

Sediment Accumulation? yes

Grading Issue? yes

**EROSION:**

Vegetation on Bottom and Side Slopes Failing? NO

Any Signs of Erosion? NO

**GENERAL:**

Any Signs of Damage from Parking in Swale? yes

Any Fence or Other Objects that Could Obstruct Flow Into / Through the Swale? NO

Any Indications of Illicit Discharge or Illegal Dumping? NO

If *YES*, Describe and Report to Supervisor for Proper Response:

