## Sheet1
Town Of Lake Park
Inspection Form for Structural Controls
Catchbasin/Inlet
ID: | 10-004-01D | Date: | 2019-01-15
Location: | 593 Jasmine Dr
Receiving Body: | Lake Worth Lagoon
Description: | Catch Basin
Weather: | good
Corrosion: | NO
Erosion: | NO
Vegetation: | YES
Debris: | YES
Sediments: | YES
Litter: | YES
Oil/Grease: | NO
Other:
Condition: | GOOD
Comments: | CLEANED
Recommendations:
Inspected By: | WYLIE
Department: | Strom Water
| Vicinity inspected for indication of illicit discharges: | X