Major Storm Water Outfalls – Structural Control Inspection

Facility ID: Basin 10 Structure 6 / 611 West Kalmia Dr. 			Date: 7/6/2018

FUNCTION:

Debris or sediment accumulation in pipe?		NO

Barnacle accumulation in pipe?			YES

Sediment accumulation in receiving water?		NO

Pipe in need of repair/replacement	?		NO

If YES, report to supervisor for further investigation or schedule for maintenance. * Cleaned barnacles on manatee shield and 3’ inside of pipe

GENERAL:

Any indications of illicit discharge or illegal dumping?		NO

If YES, describe and report to supervisor for proper response: _________________________________________________________

Signs of erosion on bank near outfall?	NO

Rip-rap in need of maintenance?		NO

Headwall in need of repair/replacement?	NO

If YES, schedule for maintenance.