Date of Inspection: 6/12/2019 Inspector Name: John Wylie

New Inspection X

Description of inspection area: 801 Lake Shore Dr.

Identification of MS4 component that could receive discharge from this site/area: Basin 2

Findings: At 1215 US Hwy 1 (Earl Stewart Toyota) property owner is constructing a new parking lot. The parking lot base is comprised of crushed lime rock, during afternoon rain events it appears that lime is washing out of the newly installed parking lot base and entering the property owner’s detention pond and into the ponds control structure. The control structure is connected to basin 2 drainage system that enters the Lake Worth lagoon at 801 Lake Shore Drive.

Evidence of illicit connections to storm sewer? Yes\_\_\_ No\_x\_

Evidence of dumping/spills to storm sewer? Yes\_X\_ No\_\_

Evidence of wash water going to storm sewer? Yes\_\_\_ No\_x\_

Storage tanks leaking or improperly contained? Yes\_\_\_ No\_x\_

Stockpiles/debris piles uncontained? Yes\_\_ No\_X\_

If “yes,” to any above, describe:

The parking lot base is comprised of crushed lime rock, during afternoon rain events it appears that lime is washing out of the newly installed parking lot base and entering the property owner’s detention pond and into the ponds control structure. I am attaching 6 photos for reference.

Type of Enforcement Action Taken: The Town of Lake Park code enforcement office was contacted to address the issue with the property owner and FDEP who forwarded the complaint to Lake Park Public Works Dept..

Date to verify correction:

    